Materials Engineering Summary Report

LTR Number:	130472

From:	Peter Bauerle	Phone:	776-7387

# Location:	CTC

# Lab(s):	Mechanical Properties	Completed:	10/18/2007

# Metallography

# Subject/Part Name:	Fatigue Specimen-Iteration 108/112

# Approver:	            Dale Wetzel

# Originator:		Peter Bauerle

# Originator Phone:	248-576-7387

# Number of Parts:	1

Nature of Work:	Process/Materials Development

Vendor:

Plant:

P/N:

MS:

PS:

# History of Part

# The sample that has been submitted is a fatigue specimen that will be used for the development of the AISI fatigue database, iterations 108 & 112. The test speciman was prepared from an 8822 steel grade with high side chemistry. The sample has been quench and tempered by austenitizing at 1700F prior to quenching in 150F oil and then tempering at 675F to an aim hardness of 35-40 HRC.

# Purpose

# The purpose of this LTR is to evaluate the microstructure and hardness of the sample.

Mechanical Properties - 130472

Hardness - Rockwell (Performed By:  Dean Martin)

Rockwell surface hardness testing was conducted on one sample provided (Fatigue Specimen – Iteration 108/112).  Testing was conducted on the surface of the grip end as requested.  Data was taken in HRC.  Data as follows:

Hardness – HRC

43.2 HRC

43.1

42.6

Hardness - Micro (Performed By:  Dean Martin)

Micro hardness testing was conducted on one sample provided (Fatigue Specimen – Iteration 108/112).  Testing was conducted on the gage section as requested.  Data taken in Vickers (500g), converted to HRC.  Data as follows:

Distance (in)		Hardness HRC

.005"			42.6  HRC

.010"			42.9

.015"			43.3

.020"			42.6

.025"			41.9

.030"			41.2

.040"			42.2

.050"			41.2

.060"			42.6

.070"			42.2

.080"			42.6

.090"			42.2

.100"			42.6

Metallography - 130472

General Microstructure Description (Performed By:  Jon Stache)

The fatigue specimen from iteration #108 was sectioned longitudinally thru the grip end and transversely thru the gage section.  The samples were prepared with standard lab procedures for sectioning, mounting, grinding, polishing and etched with 3% Nital.    Photomicrographs were taken using a Nikon Epiphot 200 microscope.

The microstructure at both locations consisted of tempered martensite from surface to core (photos 1 thru 8).  The grip end had some banding in the core (photo 9).  The gage section surface had some IGO to a depth of approximately 15 microns (photo 10).

Photo 1:  Etched low magnification (100X) of the grip end core.

Photo 2:  Etched high magnification (500X) of the grip end core.

Photo 3:  Etched low magnification (100X) of the grip end surface.

Photo 4:  Etched high magnification (500X) of the grip end surface.

Photo 5:  Etched low magnification (100X) of the gage section core.

Photo 6:  Etched high magnification (500X) of the gage section core.

Photo 7:  Etched low magnification (100X) of the gage section surface.

Photo 8:  Etched high magnification (500X) of the gage section surface.

Photo 9:  Etched low magnification (15X) of the grip end core.

Photo 10:  Unetched high magnification (1000X) of the gage section surface.

# Summary/Conclusion/Recommendations

# Based on this analysis, the following observations can be made:

# The results of this study can be used for iterations 108 and 112.

# The sample shows a very uniform hardness distribution of 41/43 HRC. However, the hardness is slightly higher than the aim of 35/40 HRC.

# The microstructure is comprised of a uniform tempered martensite throughout the gage section. The level of IGO at the surface extends to a depth of 10-15 microns.